## Slide 1: Model-Based Design for Medical Devices
William Banks

## Slide 2: Contents
Domain
Motivation
Goal
Model Example
WebGME Approach
Model Implementation

## Slide 3: Domain: medical devices
$289 billion market ($110 billion from US alone)
Closed-loop medical devices of specific interest
Interact with patient and make decisisions via their own diagnosis
No direct feedback from patient to device
Example: Pacemaker needs to determine when it paces
Safety is a critical aspect
How accurately it provides information
How precisely it operates as designed

## Slide 4: Motivation: existing challenges in design process
Medical Device recalls
  Electrical/Mechanical parts wear out and are subject to corrosion, fatigue, etc.
  Software failure is sourced in design and development of system
    15% of device recall due to software failure
Safety
ISO 14971
Application of risk management
for medical devices
IEC 62304
Software development life cycle
evoke safety practices
ISO 800002-1
Apply ISO 14971 to medical device software
software guidelines to ensure safety

## Slide 5: Motivation: benefits of model-based design
Already see benefits of integration within automotive and avionics industries
  Works best with well defined systems like automobiles an aircraft
Clinical trials are not scalable
  Time consuming
  Expensive
  Risks found at this junction are expensive to fix
Allows verifying design conditions prior to clinical trials
  Remove the ‘safety gap’
  Cheaper to implement fixes

## Slide 6: Goal: BME design flow

## Slide 7: Goal: initial objectives
Assess current DSMLs for BME applications
Develop DSML for BME applications that incorporates regulatory and industry requirements as attributes of components.
  Focus on design space and constraint modeling, safety, risk analysis
  Identify attributes and attribute values unique to BME
Develop a library of components
Use components to design application (closed feedback system: insulin pump, data recorder-to-MD, venous pressure monitor, etc.)
  Show that modeling can be used to refine the design through recursive requirement updates: Sys. ReqsModelV&V Sub-Sys. Reqs. Model V&V. . . . Design
  Self-documentation of performance progression, safety and regulatory pathway
Establish method to expand component library

## Slide 8: Model Example: blood pressure measurements
Physiological Model
RCL abstraction
Sensor Interface
Hydraulics
Pressure Transducer
  NPC-100/120
Sensor
Bridge circuit
Sensitivity
datasheet
Sensor Readout
Electronics
Modelica
LT-Spice

## Slide 9: Model Example: venous system sensor interface abstraction
t)
Objective: model simple fluid system in Modelica to represent a catheter transducer system to measure blood pressure
A piston pump connected to a tank via 2 pipes of different diameters
A latch on the top pipe opens outward with positive pressure and closes in equilibrium or negative pressure
P(2)2 is the pressure as measured in a catheter

## Slide 10: WebGME Approach: initial design
Goal: create a common framework to connect electrical and mechanical compoents
Challenge:
  uncooperative Modelica translator plugin
  Limitations in incorporating ‘saftety’ checking
Scope too broad
  Refine for proof of concept case

## Slide 11: WebGME Approach: challenges and new design
Bit off more than could chew
Interfacing electrical and mechanical domains non-trivial
Invoking quantitative safety factors non-trivial
Simplification!
  Focus on electrical domain to design abstracted BME systems
  Proof of concept

## Slide 12: WebGME Approach: new design
Removed mechanical components
Troubleshoot with online WebGME help wiki
  Working plugin!
Scope now narrow for effective proof-of-concept case
  Focus on implementing catheter-transducer system

## Slide 13: Model Example (revisited): catheter-transducer system
Physiological Model
RCL abstraction
Sensor Interface
Hydraulics
Pressure Transducer
  NPC-100/120
Sensor
Bridge circuit
Sensitivity
datasheet
Sensor Readout
Electronics
Modelica
LT-Spice

## Slide 14: Model Example (revisited): catheter-transducer system (2nd and 4th order)
Voltage (Vin): pressure wave
Resistor (R): fluid resistance
Inductor (L): fluid inertance
Capacitor (C): compliance
Feedback:
  Measure voltage drop across capacitor and generate a counter signal

## Slide 15: Model Example (revisited): 2nd and 4th order catheter-transducer system

## Slide 16: DEMO

## Slide 17: Thank You!
Questions?