## Slide 1: Model-Integrated Computing Design Principles for Biomedical Engineering Applications
William Banks

## Slide 2: BME MIC design flow

## Slide 3: Goals/Milestones
Assess current DSMLs for BME applications
Develop DSML for BME applications that incorporates regulatory and industry requirements as attributes of components.
  Focus on design space and constraint modeling, safety, risk analysis
  Identify attributes and attribute values unique to BME
Develop a library of components
Use components to design application (closed feedback system: insulin pump, data recorder-to--MD, venous pressure monitor, etc.)
  Show that modeling can be used to refine the design through recursive requirement updates: Sys. ReqsModelV&V Sub-Sys. Reqs. Model V&V. . . . Design
  Self-documentation of performance progression, safety and regulatory pathway
Establish method to expand component library

## Slide 4: Example model: blood pressure measurements
Physiological Model
RCL abstraction
Sensor Interface
Hydraulics
Pressure Transducer
  NPC-100/120
Sensor
Bridge circuit
Sensitivity
datasheet
Sensor Readout
Electronics
Modelica
LT-Spice

## Slide 5: Example model: venous system sensor interface abstraction
t)
Objective: model simple fluid system in Modelica to represent a catheter transducer system to measure blood pressure
A piston pump connected to a tank via 2 pipes of different diameters
A latch on the top pipe opens outward with positive pressure and closes in equilibrium or negative pressure
P(2)2 is the pressure as measured in a catheter

## Slide 6: WebGME
To Do:
Modelica translator plugin
  Not reading connections
Refine components and integrate other Modelica components

## Slide 7: Goals/Milestones Revisited
Assess current DSMLs for BME applications
Develop DSML for BME applications that incorporates regulatory and industry requirements as attributes of components.
  Focus on design space and constraint modeling, safety, risk analysis
  Identify attributes and attribute values unique to BME
Develop a library of components
Use components to design application (closed feedback system: insulin pump, data recorder-to--MD, venous pressure monitor, etc.)
  Show that modeling can be used to refine the design through recursive requirement updates: Sys. ReqsModelV&V Sub-Sys. Reqs. Model V&V. . . . Design
  Self-documentation of performance progression, safety and regulatory pathway
Establish method to expand component library

## Slide 8
Questions?